## Slide 1
Training Course contents 3G
Field Level training Material
Basic Integration
  Scripting
  Configuration and connections
  Sync
  Node Group
  Basic Commands
  Common Faults

## Slide 2
  Basic integration steps
  Laptop configuration
  Format and load Files again
Basic Integration

## Slide 3
Basic Scripts for 3G
How many Scripts required
How to make scripts
How to load scripts
Scripting

## Slide 4: New dual DUW commissioning
If the RBS 6000 3G will be configured from scratch, the steps will be:
  Format and load basic package to primary (1st) DUW.
  Format secondary (2nd) DUW.
  Turn off 2nd DUW, connect IDL and F to F cable between both DUWs.
  Turn on 2nd DUW, then run Cabinet Equipment from 1st DUW.
  Wait until both DUW are synchronized.
  Configuration and Connections

## Slide 5: Format and load basic package to 1st duw

## Slide 6: Format 2nd duw

## Slide 7: Cable connection
Turn off 2nd DUW, connect IDL and F to F cable between DUW then turn the 2nd DUW on.
IDL cable
F to F cable

## Slide 8: Cabinet equipment 1st DUW

## Slide 9: Cabinet equipment
If new DUW doesn’t appear, 2nd DUW might not be detected by the primary.
If that happens, please check:
  IDL and F to F cable connection.
  You might need to repeat cabinet equipment configuration.

## Slide 10: Cabinet equipment

## Slide 11: Cabinet equipment

## Slide 12: Wait for disk synchronization

## Slide 13: 2nd DUW status – PASSIVEREADY

## Slide 14: Add new DUW with export & delete(second situation)
If 2nd DUW will be added to existing live RBS 6000 3G:
  Format 2nd DUW, turn it off after the format process finish.
  Create backup CV and run export & delete from 1st DUW.
  Connect IDL cable and F to F cable between both DUWs.
  Turn on 2nd DUW, then run cabinet equipment from 1st DUW.
  Wait until both DUWs are synchronized.

## Slide 15: Format 2nd duw

## Slide 16: Export & delete

## Slide 17: Cable connection
Turn off 2nd DUW, connect IDL and F to F cable between DUW then turn the 2nd DUW on.
IDL cable
F to F cable

## Slide 18: Cabinet equipment 1st DUW

## Slide 19: Cabinet equipment
If new DUW doesn’t appear, 2nd DUW might not be detected by the primary.
If that happens, please check:
  IDL and F to F cable connection.
  You might need to repeat cabinet equipment configuration.

## Slide 20: Cabinet equipment

## Slide 21: Cabinet equipment

## Slide 22: Wait for disk synchronization

## Slide 23: 2nd DUW status – PASSIVEREADY
After both DUW are synchronized, load the site equipment configuration

## Slide 24: OAM Script To run the OAM wizard, from the tools menu select OAM access configuration.

## Slide 25: You will see the screen below do next.

## Slide 26: Select file from your drive location and do next.

## Slide 38
  NODE GROUP
  The set of nodes that are connected to each other by shared RUs. All nodes in the group must be synchronized to each other, both in frequency and time
  A Node configured to be part of a Node Group for Synchronization
  SP The NGSM within the Node Group that currently is synchronizing towards one of the Node Groups external network references and is providing other NGSMs with Node Group internal synchronization. The SP can only provide synchronization to other NGSMs via Radio Configurations for Multistandard RBS.
  SR An NGSM Node within the Node Group that currently is synchronizing towards one of the Node Groups internal synchronization references.
  Node Group

## Slide 39
St ru
St cell
Get radio no
Get nodeg
Stip
Get nodeip
Sts
Cvls
Cvms
Acc 0 manualrestart
Alt
Lga
Lgn
  Basic Commands

## Slide 40
Power issue
IP changed
DUW faulty
SW error
Sync issue
Digital cable alarm
VSWR
RRU fault
  Common Faults